## Slide 1
Peter Kammel
University of Washington and CENPA
Muon capture, TPCs and nucleon axial structure
INT Workshop INT-18-2a, From nucleons to nuclei: enabling discovery for neutrinos, dark matter
29 June, 2018

## Slide 2: Outline
Introduction
UW/CENPA program
  MuCap: - + p  m + n
  MuSun: - + d  m + n + n
Axial form factor and muon capture
  new analysis
  potential future experiment
High pressure hydrogen TPCs
  technology
Summary

## Slide 3: Muon Capture Phenomenology
m
muon decay
muon capture
m
m
close to free muon decay
1.6 permille BR ratio
n
n
n
n
e
W
g

## Slide 4: Muon Capture Physics
charged-current weak interaction probe of nucleon and lightest nuclei
  access to unique observables, where scarce information is available
tremendous experimental progress with new technique
  from 10% to sub-percent: m3He (0.3%), mp (1%), md(1.5% MuSun goal)
recent advances on nucleon, few-body theory
  radiative corrections for basic m+p capture process
  χPT: low-energy EFT of fundamental theory QCD
    high-energy dynamics integrated out, low energy constants (LECs)
    retains QCD symmetries → tests with precision experiments
    model independent relations → predictions based on experimental input
  Lattice QCD
heavier nuclei
  capture rate ~Z4, decay = capture @ Z=13
  nuclear structure information
  0nbb

## Slide 5: UW/CENPA Program
MuSun
MuCap
  Basic QCD Symmetries
  Nucleon axial radius
  Weak few nucleon reactions
  Neutrino astrophysics

## Slide 6: Muon capture on the proton
Muon capture
Form factors
Pseudoscalar FF gP
  modern χPT prediction 2% level
  50 yr efforts to measure precisely
- + p  m+ n rate LS at q2= -0.88 mm2
Lorentz, T invariance
before MuCap All form factors precisely known from SM symmetries and data
apart from gPexp = 8.3 ± 50%
Foundations for mass generation chiral perturbation theory of QCD
assuming gA(q2) dipole

## Slide 7: MuCap strategy
Precision technique
Clear Interpretation
Clean stops in H2
Impurities < 10 ppb
Protium D/H < 10 ppb
Muon-On-Request
All requirements simultaneously
  capture rare, only 0.16% of menn
  Lifetime method
S = 1/- - 1/+
measure to lifetime to 10ppm !!

## Slide 8: MuCap Active Target Technique
m
e
t
Notes: Different techniques, plot with more and more results

## Slide 9: MuCap at PSI
  34 MeV/c, 70 kHz beam
  Muon-on-request with fast kicker
Kicker
Separator
Quadrupoles
MuCap detector
TPC
Slit
pE3 beamline

## Slide 10: MuCap “Final” Result
χPT parameter free prediction: gP = 8.26  0.23
  including uncertainty
MuCap final result: gP = 8.06 ± 0.55
  verifies basic prediction of low energy QCD
Phys. Rev. Lett. 110, 012504 (2013) APS Editor's spotlight
Eur. Phys. J. A 50, 163 (2014)
Phys. Rev. C91, 055502 (2015)
Rev. Sci. Instrum. 86, 125102 (2015)
assuming FA dipole

## Slide 11: UW/Cenpa Program
MuSun
MuCap
  Basic QCD Symmetries
  Nucleon axial radius
  Weak few nucleon reactions
  Neutrino astrophysics

## Slide 12: Muon Capture on the Deuteron: MuSun
Goal: Determine
  Axial current coupling to 2N system: “gA of 2N system”
  Low Energy Constant in EFT
Relevance
  calibrate fundamental astrophysics reactions
  important for EFT formulation of nuclear physics
  matrix elements for 0n2b decay
  dR
  dR
  dR
  Family of weak 2N reactions
  pp fusion (Sun)
  nd scattering (SNO)
chiral 2-body currents
MEC
L1A , dR
EFT
D
p
CD
dR

## Slide 13: Determine Unknown Coupling Constant in md Capture ?
MuSun Goal: 1.5%
Theoretical calculations fix LEC with tritium -decay
Many calculations:
- impulse-approximation
- EFT variants

## Slide 14: MuSun Strategy
Clear Interpretation
Precision technique
Clean stops in D2
Impurities < 1ppb
H/D < 100 ppm
Cryo TPC as active target
90x120x72 mm3
anode 48 pads
continuous circulation & cleaning
ultra-pure D2
cyro preamplifier 250e rms @ 0.5ms shaping
6% LH2 density
31 K, 5.1 bar
cathode (-80 kV)
field wires
novel device:
high purity,
high-pressure,
cyrogenic
deuterium TPC

## Slide 15: Events in TPC
m
m
125.5 mm
95.5 mm

## Slide 16: MuSun Status
Statistics:
  Data taking complete
  1.4 x 1010 events
  goal: dLd= 4 s-1
Systematics:
  goal: dLd= 4 s-1
  Working hard on all topics
First unblinding planned this fall
R2015 decay spectrum
R2014 data set consistency
R2015 data set consistency

## Slide 17: Outline
Introduction
UW/CENPA Program
  MuCap: - + p  m+ n
  MuSun: - + d  m+ n + n
Axial form factor and muon capture
  new analysis
  potential future experiment
High pressure hydrogen TPCs
  technology
  thoughts on n + d  m- + p + p
Summary

## Slide 18: New perspective on nucleon axial form factor
Nucleon axial radius rA has surprisingly large uncertainty
    basic nucleon property
    doubles uncertainty in QE nn￫pm cross section prediction (important for DUNE, T2HK)
Problem and opportunity for muon capture
  Can gP still be reliably extracted from MuCap?
  Can one use MuCap to extract the axial radius?
Phys.Rev. D93 113015, (2016)
2% for MuCap
A.Meyer

## Slide 19: Axial Radius and Muon Capture Review
Theory improvements
  Theory uncertainties in reduced to 0.2% level. (ignoring input uncertainty)
  Λsinglet = 715.4 (6.9) s−1
  rel. uncertainties (%):
gP determination from muon capture
  dominates uncertainty in gA(q02) and gP(q02) from theory.
  MuCap still provides QCD test at 8% level:

## Slide 20: Axial Radius from MuCap
  Use
  gA(q2,rA2)
  gP(q2,rA2) from EFT (with gpNN= 13.12(10))
  0.3% future precision MuCap measurement could reduce
  from 0.22 to 0.09 fm2
  uncertainty in QE s(nn) by nearly 2
current s band
s from =0.09 fm2

## Slide 21: Ideas toward 3-fold improved MuCap++
Goal
  MuCap: Lsinglet= 715.6 (5.4)stat (5.1)sys
  MuCap++ Lsinglet= (1.7)stat (1.7)sys
Conservative approach: incremental improvements
Statistics:
  10x increase
Systematics
  tm to 3.7 ppm
  MuLan 1 ppm
TPC gain and stability
 | uncertainty (1/s) | 
effect | MuCap | MuCap++
Boundary and interference effects | 3.3 | ~1.0
Gas impurities | 1 | ~0.1
Electron tracker effects | 1.8 | ~1
ppm molecular effects | 1.8 | ~0.5

## Slide 22: Muon stop defined by TPC
TPC side view
b) Large angle m-p scatter c) Delayed capture on impurity mONn
10-2/m
~10-6/m
Compromise required
between
accurate tracking
constant tracking efficiency after muon stop @ 10-5

## Slide 23: Main ideas
Beam
    reduce beam momentum
    minimal material
    continuous vacuum
    thin windows
    faster kick
TPC
    larger size, higher drift field
    stability, gain improvement: GEM, Micromega
    pad chamber electronics, digitizer
Electron detectors
    modern SiPM based fast scintillator
    with high segmentation
Purity
    gold plating
    improved GC, in-situ monitoring
    @ ppb level
vacuum
H2 10 bar
intermediate
focus
pressure window 0.3 mm Be
0.2 mm mSC
additional safety
volume such that small pressure increase with Be window rupture
additional upstream fast shutter valve

## Slide 24: Outline
Introduction
UW/CENPA Program
  MuCap: - + p  m+ n
  MuSun: - + d  m+ n + n
Axial form factor and muon capture
  new analysis
  potential future experiment
High pressure hydrogen TPCs
  technology
Summary

## Slide 25: MuCap/MuSun H2 / D2 TPC
MuCap
    MWPC, G=125-320, 25mm anode wires
    4 mm anode, cathode pitch
    30 kV HV
    10% energy resolution
MuSun
    G=1, Frisch grid
    16x16 mm2 pads
    80 kV HV
    excellent resolution 17 keV with cryo-preamps
Both chambers
    1-10 ppb purity (difficult operation with gain)
    continuous circulations system
    2.4x10-4 P stabilized @ 10 bar
scale up at least 2000 required for n program 🙄
15 x 12 x 28 cm3
9.6 x 7.1 x 12.5 cm3
f = 0.0116 LH2, T=300 K, 10 bar
f = 0.065 LH2, T=31 K, 5.1 bar
partially LD2 filled during tests

## Slide 26: Hydrogen TPC Properties
Townsend coefficient
  small
  need >105 V/cm @ 10 bar for gas amplification
  typically 2-3x higher than standard chamber gases
  0.5 MV/cm on anode wire
Drift velocity
  rather slow gas
  MuCap 2 kV/cm @ 10 bar
  MuSun 10 kV/cm @ “60 bar”
Energy per ion-e pair: W=37 eV
dE/dx per cm small in H2 need sufficient pixel size for MIPS detection @ G=1

## Slide 27: Hydrogen TPC Properties
Recombination
  significant for dE/dx > dE/dxMIPS
  dependence on angle to drift field
Impurities: O2 terrible, H2O might stabilize MWPC operation
MuSun G=1 high density TPC achieved very stable operation, thus LH2 TPC preferable, if electron attachment, drift velocity, etc. ok

## Slide 28: Summary
MuCap: - + p  m+ n
  in spite of problem: stringent test of chiral symmetry
  competitive and complementary determination
  sufficient motivation/support for 3x improved experiment?
MuSun: - + d  m+ n+ n
  data taking with full statistics completed
  challenging analysis converging
nH, nD TPC
  significant experience with high density hydrogen TPCs in our collaboration
  Alan’s LH2 TPC idea interesting, I need more time to consider this option
  connection to MuCap++ project motivation

## Slide 29: Backup

## Slide 30: e- Attachment on O2
• Thermal Electron Attachment to O2 in H2 and D2
• attachment time constant:
p.n.d.
impurity level
p = 10 bar, T = 300 K, fO2 = 10 ppm :
calculated: t = 3.4 ms
• Bloch-Bradbury-Herzenberg mechanism (two-stage three-body process)
Shimamori and Hatano, Chem. Phys. Let.
Vol.38 (1976) 242-247
t ≈ 1.6 - 2.0 ms
t ≈ 0.4 - 0.8 ms
E = 0.5 kV / cm
E = 2.0 kV / cm
↔ “MuCap observation” (pulse height → threshold, exp. attenuation)

## Slide 31: Experimental Setup at PSI, Switzerland
Measure the time of the decay electron te relative to the muon entrance tm and fit to extract the lifetime.
Detector and cyro / gas cleaning system

## Slide 32: Thanks
MuSun Collaboration
Petersburg Nuclear Physics Institute (PNPI), Gatchina, Russia Paul Scherrer Institute (PSI), Villigen, Switzerland
University of Washington, Seattle, USA University of Kentucky, Lexington, USA Boston University, USA
Regis University, Denver, USA
University of South Carolina, USA
Funding agencies
The UW work was supported by the U.S. Department of Energy Office of Science,
Office of Nuclear Physics under Award Number DE-FG02-97ER41020.
Collaboration funding includes support by the US National Science Foundation and the Russian Science Foundation (Project No. 14-12-01056).
This work used the Extreme Science and Engineering Discovery Environment (XSEDE), which is supported by National Science Foundation grant number ACI-1548562.

## Slide 33: Axial Radius Details I

## Slide 34: Hardware
new
Cryo TPC
Cryo preamps
tight constraints, new design flawless during production runs
140K, 250e rms @ 0.5ms shaping essential for purity monitor
Frisch grid 3.5 kV