## Slide 1: Gravitational Waves: Laser Interferometer Space Antenna (LISA)
Jessica Gifford | August 25, 2010 | Int-Reu

## Slide 2: Out Line
Gravity Waves and Lisa
Torsion Pendulum
Old Electron Gun Measurements
New motor
Photocurrent measurements: Data and Design
Autocollimator and Temperature

## Slide 3: Gravitational Waves
Einstein’s General Relativity
  Predicts gravity waves
  More massive, more curvature, more gravity
  The universe is mostly Minkowski space
  Space Time Curvature is only as small effect
h ~ 10-20
t0
t1
t2
Gravitational Radiation
  Detection: Oscillations in space time.
  As location of masses change with time so does the curvature
Notes:   reconsider Space Time Curvature predict gravity waves
also, SPT Curvature is a small effect 1:10^20

## Slide 4: What is LISA?
5 million km
50 million km
Laser off of masses

## Slide 5: Torsion Pendulum
Pendulum is supported by a thin fiber and is allowed to hang freely
Pendulum reacts to the amount of charge on it from the electrodes
An electron gun is used to negatively charge the pendulum
UV LED is used to positively charge the pendulum
Plates are able to move
Changes in angle are measured using an autocollimator
Feed back loop is used to “catch” the pendulum and keep it on the detector
  Solar rays can charge pendulum causing problems…
  Torsion pendulums correct for this:
Notes: Pendulum reacts to the amount of charge on it.

## Slide 6: Old electron gun
Electron source
  Magnesium that is evaporated onto aluminum
Electron gun
  Electrons are ejected from magnesium by the photo effect and negatively charge the pendulum

## Slide 7: Charge and Discharge Measurments
Demonstration of charge control
Data
  Intervals of 30seconds dictated by the time used to switch polarity of the plates
  Polarity is switched to show that charges are measured from the pendulum
    This is to show that the pendulum charge is measured not the electrodes and to show that it is independent of the polarity of the voltage that is applied to these feedback electrodes
Procedure
  Pendulum is locked in feedback using a feedback loop
    Also called “catching”
  Use the electron gun to charge negatively
  Use the UV LED to positively charge the pendulum
Issues
  Temperature fluctuations
  Timing Gun off and LED on

## Slide 8: Distance dependence
Time (s)
Noise Runs at various positions
Noise Data
  Want to see if there is distance dependence
  Taken over night 8 separate days
  Taken at 9 different distances ranging from 2mm-8mm in 1mm increments
2mm 3mm
4mm 5mm
6mm 7mm
8mm
V+ + V-

## Slide 9: New motor and current measurements
Installed new stepper motor
Built device to measure photo current of our UV LED
Criteria: Compatible with Pontech controller
  Bipolar
  Need ~5V : 4.2V
  No more then 2A: 1.4A (we measured 2A)
  Compact size around 4mm : 2mm
Materials
  Magnesium Cathode
  Aluminum cylinder and lid
  Insulation
  UV Led

## Slide 10: UV LED Photo Current Measurment
Chart: Photocurrent vs. Voltage / IV Curve
| -4.99 | -4.8 | -4.5599999999999996 | -4.38 | -4.17 | -3.9699999999999998 | -3.7600000000000002 | -3.63 | -3.44 | -3.17 | -3 | -2.8 | -2.63 | -2.4099999999999997 | -2.25 | -2.02 | -1.84 | -1.61 | -1.43 | -1.1900000000000042 | -0.99 | -0.82000000000000062 | -0.56999999999999995 | -0.38000000000000117 | -0.15000000000000024 | -2.0000000000000052E-2 | 2.0000000000000052E-2 | 0.17 | 0.42000000000000032 | 0.61000000000000065 | 0.75000000000000222 | 1.03 | 1.23 | 1.42 | 1.6300000000000001 | 1.83 | 2.04 | 2.21 | 2.3699999999999997 | 2.6 | 2.84 | 2.9699999999999998 | 3.21 | 3.4099999999999997 | 3.56 | 3.8 | 4 | 4.25 | 4.4400000000000004 | 4.6199999999999966 | 4.76 | 5.04
UV on | -0.501 | -0.45 | -0.376 | -0.329 | -0.277 | -0.226 | -0.157 | -0.118 | -0.081 | -0.021 | 0.015 | 0.063 | 0.107 | 0.165 | 0.216 | 0.284 | 0.33 | 0.398 | 0.458 | 0.523 | 0.589 | 0.635 | 0.712 | 0.77 | 0.827 | 0.885 | 0.897 | 0.943 | 1.01 | 1.06 | 1.11 | 1.19 | 1.25 | 1.3 | 1.37 | 1.42 | 1.49 | 1.52 | 1.58 | 1.66 | 1.74 | 1.77 | 1.85 | 1.91 | 1.94 | 2.01 | 2.05 | 2.12 | 2.17 | 2.19 | 2.2 | 2.25
UV on fit | -0.53409 | -0.4798 | -0.41122 | -0.35979 | -0.29978 | -0.24264 | -0.18263 | -0.14549 | -0.091199 | -0.014051 | 0.034523 | 0.09167 | 0.14024 | 0.20311 | 0.24882 | 0.31454 | 0.36597 | 0.43169 | 0.48312 | 0.5517 | 0.60885 | 0.65742 | 0.72885 | 0.78314 | 0.84886 | 0.88601 | 0.89744 | 0.9403 | 1.0117 | 1.066 | 1.106 | 1.186 | 1.2432 | 1.2975 | 1.3575 | 1.4146 | 1.4746 | 1.5232 | 1.5689 | 1.6346 | 1.7032 | 1.7403 | 1.8089 | 1.8661 | 1.9089 | 1.9775 | 2.0347 | 2.1061 | 2.1604 | 2.2118 | 2.2518 | 2.3318
UV off | -0.491 | -0.47 | -0.438 | -0.418 | -0.397 | -0.376 | -0.36 | -0.339 | -0.31 | -0.294 | -0.277 | -0.254 | -0.233 | -0.204 | -0.183 | -0.162 | -0.149 | -0.125 | -0.113 | -0.094 | -0.073 | -0.062 | -0.039 | -0.027 | -0.013 | -0.0014 | 0.001 | 0.014 | 0.026 | 0.039 | 0.053 | 0.071 | 0.089 | 0.108 | 0.133 | 0.15 | 0.167 | 0.182 | 0.207 | 0.231 | 0.244 | 0.269 | 0.292 | 0.322 | 0.336 | 0.357 | 0.37 | 0.394 | 0.416 | 0.44 | 0.466 | 0.491
UV off fit | -0.46526 | -0.44947 | -0.42438 | -0.40766 | -0.38908 | -0.36957 | -0.35749 | -0.33891 | -0.31662 | -0.2999 | -0.2841 | -0.26459 | -0.24508 | -0.22279 | -0.20421 | -0.18098 | -0.16612 | -0.14475 | -0.13174 | -0.11223 | -0.089937 | -0.078789 | -0.053705 | -0.038841 | -0.02026 | -0.0026089 | 0.0011072 | 0.021546 | 0.039197 | 0.05499 | 0.070784 | 0.090293 | 0.1098 | 0.12838 | 0.14882 | 0.16926 | 0.18412 | 0.19992 | 0.22314 | 0.24358 | 0.25566 | 0.27796 | 0.29839 | 0.31697 | 0.33834 | 0.35599 | 0.36807 | 0.38758 | 0.40523 | 0.42567 | 0.44704 | 0.46283

## Slide 11: New Design
Cathode Candidates
Element | Work Function
Caesium | 2.10 eV
Rubidium | 2.16 eV
Sodium | 2.28 eV
Pottasium | 2.30 eV
Calcium | 2.90 eV
Lithium | 2.90 eV
Magnesium | 3.66 eV
Magnesium
Mesh
Einzel Lens
UV Led
(330nm,3.8eV )
(244nm,5.1eV)
Aluminum Plate
Insulation

## Slide 12: Initial Data
Used two different Led’s with no Einzel Lens
  Current leakage
  Noise regime
  Signal drastically changes when you are in the room
Chart: Photo Current
| -7 | -5 | -3 | -1 | 1 | 3 | 5 | 7 | 9.3000000000000007
244nm | -0.0443 | -0.0327 | -0.0261 | -0.0186 | -0.0061 | 0.0027 | 0.0118 | 0.0235 | 0.0352
330nm | -0.0464 | -0.0298 | -0.0237 | -0.0156 | -0.0033 | 0.0034 | 0.0086 | 0.0198 | 0.0313
Built battery system for the UV Led power
  Fixes current leakage
LM317

## Slide 13: Data with new design
Using a DAQ program: Integrated the power supply to be controlled by program
Time (fraction of day 236)
Current (nA)
Time (fraction of day 236)

## Slide 14: Data with new design
  Took current measurements from -5V to 5V
  Expect the current to rise at higher voltages and level off at more negative voltages
  Do see a drop around -5V
  More investigation is needed to see if this is photocurrent and for what ranges of voltages we see the change
Voltage (v)
Current (nA)
Current (nA)
Voltage (v)
Photo Current Measurements with DAQ

## Slide 15: Auto collimator
System of two lasers created by a diffraction grating
  First laser is stationary and second one moves relative to it
Noise issues:
  Sound
  Mechanics
  Thermal
Torque (pNm)
Torque (pNm)
Frequency ( mHz)
Frequency ( mHz)

## Slide 16: Thermometers
Built a system of two thermometers to measure thermal changes of our set up
Output to DAQ

## Slide 17: Thermometer data
Temperature Data
  First took raw temperature data
  Data taken inside and outside the box
  Peaks represent different noise components
Temperature (C)
Time (fraction of day 201)

## Slide 18: Future
Take power spectral density measurements of the distance data for the LISA pendulum
Take new data with the motor
Vary the voltage between the Mg and Al of the electron gun and take photo current measurements to show that we are in fact measuring photocurrent and for what voltages
Test full design of electron gun with Einzel lens
Integrate the autocollimator and temperature programs so they can be correlated at the same times
Larger goal: Redesign autocollimator after temperature characterization

## Slide 19: Acknowledgments
Thank you to:
Stephan Schlamminger: Advisor
-Charlie Hagedorn: Graduate Student
-Jens Gundlach : Professor
-David Hyde: Shop Manager
- Ron Musgrave: Machine Shop Inst.
-Gravity Group Members
CENPA faculty and staff
Special Thanks to :
-Alejandro Garcia
-Deep Gupta
-Janine Nemerever
-Linda Vilett
For making this REU experience possible