## Slide 1: Krypton source for the Project 8 neutrino mass experiment
Arman Ballado
Advisor: Mike Miller

## Slide 2: Neutrino mass measurement
Beta Decay
Griffiths

## Slide 3: Tritium Beta Decay
Endpoint energy of 18.575 keV
J.A. Formaggio

## Slide 4: Project 8 Concept
Use cyclotron frequency to measure energy
Electron will go through cyclotron motion in a magnetic field with a frequency
For and

## Slide 5: Calibration using Krypton-83m
Internal Conversion
Releases electron with energy (Tritium endpoint energy )

## Slide 6: Concerns with krypton
How does it behave at temperatures near liquid nitrogen or lower?
Does it condense on the cold surface?

## Slide 7: Krypton Vapor Pressure

## Slide 8: Setup

## Slide 9: Temperature Standoff
Viton O-ring minimum temperature: -25°C or 248K
for

## Slide 10: Residual Gas Analyzer
Ionizer -> Quadrupole Mass Filter -> Detector

## Slide 11: Background Data

## Slide 12: Background Data
Average = Torr
Torr

## Slide 13: Krypton Abundances

## Slide 14: Pressure vs. Time

## Slide 15: Estimated Pressure from Radioactive Source
Assuming that the krypton gas behaves like an ideal gas
PV = NkT
Rubidium activity = 0.15mCi = 5.5 x 106 decays/second
N = Activity x time =
For an experimental volume of 10L at 77K

## Slide 16: Conclusion
It appears that no significant condensation of krypton occurs, but more tests are needed to be sure.
It would be very difficult to detect the radioactive krypton using the RGA

## Slide 18: Krypton Production
To maximize cross-section for production:
Rb-83 half-life = 86.2 days
Rb-84 lifetime = 33.1 days
Rb-83 decays to Kr-83 by electron capture